## Slide 1
Introduction
Arsenic is a metalloid that can be found in the environment in rocks, soil, and water. It occurs naturally as the minerals arsenopyrite (FeAsS), realgar (AsS), and orpiment, (As2S3). Levels of arsenic in the soil can be found to be from 0.1 to 40 ppm. Arsenic can enter groundwater by erosion, dissolution, and weathering. Other sources include geothermal springs and volcanic activity. It can also be released by brines that are used to produce natural oil and gas, as a by-product of gold and lead mining and the combustion of coal. Industrial contaminations occurs through production of lead-acid batteries, paper production, glass and cement manufacturing.
Arsenic occurs in drinking-water as As(III) or As (V). ). Organic arsenic species are concentrated in seafood but are much less harmful to health than inorganic arsenic compounds as they are readily eliminated by the body. The European Union and the World Health Organisation recommend arsenic limits in drinking water of 0.01 ppm. Arsenic poisoning or arsenicosis results in many ailments such as skin cancer, cancers of the bladder, kidney and lung, gangrene, diabetes, high blood pressure and reproductive disorders. It is obviously important to be able to detect low levels of arsenic in aqueous sample.
Method
Groundwater contains a variety of inorganic and organic arsenic species and these must be separated by chromatography before determination. Arsenic can be determined by a variety of analytical methods including colorimetry, atomic absorption spectrometry, XRF, ICP and ICPMS. In this project the arsenic species were separated by ion exchange chromatography and measured by ICPMS. A Dionex ion-exchange column was used with gradient elution with 2 mM tetramethylammonium hydroxide and 10 mM ammonium carbonate binary mobile phase. Six arsenic species were separated over a period of 20 min in the order AsB, DMAV, MMAV, AsIII and AsV.
A Shimadzu inductively coupled plasma mass spectrometer with a miniaturized torch was used for the detection. The eluent from the ion exchange column was introduced into the plasma by a nebulizer.
Standards of each of the arsenic compounds were prepared in water over the range0-50 ppm. Six-point calibration curves for the arsenic species were obtained by plotting the peak areas against the concentration of arsenic for each species
Results
The calibration curves gave correlation coefficients in excess of 0.999.
The detection limits ranged from 0.071 to 0.40 ppm.
The concentration of each of the arsenic species in the groundwater sample are given in the table .
Conclusions
As effective method for determination of arsenic in grou8nwdayer was developed,.
The levels of organoarsenic compounds was below the recommended limit.
However, there was significant inorganic arsenic present
Arsenic species | Concentration/ppm
As(II) | 5
As(V) | 11
MMA(V) | 0
DMA(V) | 0
AsB | 0
Analysis of arsenic in groundwater by Joe Bloggs and Teresa Green
Notes: The layout in this poster is poor. The long blocks of text do nothing to add interest or make the poster attractive.